## Sheet1
Questionnaire for Power plant
Sl.No. | Description | Units | Parameter | Format of document
I | Site data:
1 | Address
2 | Town
3 | State
4 | Country
5 | Lattitude and longitude | °
6 | Altitude (from Mean sea level) | mt.
7 | Nearest highway and its distance from the proposed site | kms
8 | Nearest seaport and its distance from the proposed site | kms
9 | Nearest airport and its distance from the proposed site | kms
10 | Dry bulb temperature Maximum / Average / Minimum | °C
11 | Wet bulb temperature Maximum / Average / Minimum | °C
12 | Relative humidity Maximum / Average / Minimum | °C
13 | Seismic zone |  |  | As per UBC
14 | Design wind speed | m/sec |  | As per UBC
15 | Plot plan/site plan |  |  | in ACAD format
II | IF Process plant and Steam needed for Process also
1 | Write up on the process with a process flow diagram |  |  | MS word
2 | Steam required for process
2.1 | Flow (maximum/Normal/Minimum) | tph
2.2 | Steam pressure at battery limit | bar g
2.3 | Steam temperature at battery limit | °C
3 | Distance between power plant and process plant terminal point | mt.
4 | Power required for process | kW
5 | Is the power required steady | Yes /No
6 | Rating of the highest capacity motor | kW
7 | Start up load required for the plant | kW
8 | Emergency load required for the plant | kW
III | Fuels for the plant:
1 | Analysis of Fuel 1st Sample |  | Parameters shall be as per Annexure 1
2 | Analysis of Fuel 2nd Sample |  | Parameters shall be as per Annexure 1
IV | Water availability
1 | Water available | KL/day
2 | Raw water analysis |  | Parametes shall be as per Annexure 2
V | Civil aspects:
1 | Soil analysis report |  |  | in pdf format
2 | Earth resistivity report |  |  | in pdf format
3 | Cost of construction materials:
3.1 | Reinforcement steel | USD/ton
3.2 | Cement | USD/ton
3.3 | Blue metal | USD/cft
3.4 | Sand | USD/cft
3.5 | Labour cost (including shuttering, formwork etc.,) | USD/m³ of concrete
VI | Power:
1 | Is there an option for power export?
2 | If yes,
2.1 | Evacuation voltage
2.2 | Fault level
| @ 11kV level | kA
| @ LT level | kA
2.3 | Voltage
| High tension | kV
| Low tension | V
2.4 | Frequency | Hz
2.5 | Electrical single line diagram of the process plant |  |  | in ACAD format
Annexure 1 Format for fuel analysis
I | Proximate analysis: |  | Deoiled cake | Coffee husk
1 | Fixed carbon | % w/w
2 | Volatile matter | % w/w
3 | Inherent moisture | % w/w
4 | Total moisture | % w/w
5 | Ash | % w/w
6 | Sulphur | % w/w
7 | Free chlorine | % w/w
II | Ultimate analysis:
1 | Carbon | % w/w
2 | Hydrogen | % w/w
3 | Nitrogen | % w/w
4 | Oxygen | % w/w
5 | Sulphur | % w/w
6 | Total moisture | % w/w
7 | Ash | % w/w
8 | Free chlorine | % w/w
III | Gross calorific value:
1 | Air dried basis (ADB) | kJ/Kg
2 | As received basis (ARB) | kJ/Kg
IV | Ash temperature:
1 | Initital deformation temperature | °C
2 | Fusion temperature | °C
Annexure 2 Format for water analysis
I | Water analysis: |  | Source 1 | Source 2
1 | pH
2 | Colour
3 | Turbidity | NTU
4 | Electrical conductivity @ 25°C | micro siemens/cm
5 | Total dissolved solids | ppm
6 | Total hardness | ppm
7 | Reactive silica as SiO2 | ppm
8 | Colloidal silica | ppm
9 | Sodium as Na | ppm
10 | Pottasium as K | ppm
11 | Calcium as Ca | ppm
12 | Magnesium as Mg | ppm
13 | Chlorides as Cl- | ppm
14 | Sulphates as SO4-- | ppm
15 | Nitrates as NO3- | ppm
16 | Bicarbonates HCO3- | ppm
17 | Carbonates CO3- | ppm
18 | Iron | ppm